## Cover page
Technical Site Survey Report (TSSR)
| Project Name: |  | ALJEEL GSDN
| Site ID: |  | WM011 |  | Site Name: |  | Jadu
| Region: |  | Western Mountain
Surveyor |  | Name |  | Survey Date |  | Phone No |  | Remark
SBC Name
RF Engineer
CW Engineer
WL Engineer
PWR Engineer
IP Engineer
MW Engineer
A&T GLOBAL representative |  | عبد القادر التواتي |  | 5.8.2024 |  | 910680000
A&T GLOBAL representative |  | منير رجب |  | 5.8.2024
Aljeel SE

## General Info
General Site Information
Basic Info:
| Sharing Site | Yes |  |  |  | Site onwer | Albounya
Site Type |  | Fiber POP |  |  | Latitude |  | 31.9557
Tower Type |  | Greenfield |  |  | Longtitude |  | 12.0285
Tower height (m) |  | 102 m |  |  | City |  | Jadu
Building height (m) |  |  |  |  | Village |  | near city center
Site Area(m*m) |  |  |  |  | Type of premises |  | Governmental
Detailed Address: |  | جادو- بالقرب من مديرية أمن جادو
Site Access：
24 hrs |  | other |  |  | Contact Person |  | Tawfeq Alsabre
Site region |  | Western Mountain |  |  | Phone No. |  | 912660242
Site Ownership |  | Albounya |  |  | Lift availability
Need Key |  | Yes |  |  | Access Road |  | Available
Existing building stair width: |  |  |  | m (for rooftop，measure the stair)
Existing building door size: |  |  |  | m (for rooftop，measure the stair)
Explaination for Possible Difficulties for Equipment Installation
تم تجهيز قاعدة القابينة وتوصيل الفايبر وتجهيز مصدر التغذية AC ولكن لم يتم توصيل الكهرباء إليه حتى تاريخ إجراء هذا المسح (يرجى إعلامنا في حالة الإنتهاء من توصيل الكهرباء لتتم عملية التشغيل بعد التركيب مباشرة) (تحتاج مسألة Basbar إلى نقاش مع إدارة المشروع)
Photo-Site Coordinate (GPS) |  |  | Photo-Site Location |  |  | Photo-Building Floor
`
Notes: |  |  | Notes: |  |  | Notes:
Photo-Main Access Road |  |  | Photo- Access in |  |  | Photo- Access out
Notes: |  |  | Notes: |  |  | Notes:
Photo-Tower1 Location |  |  | Photo-Tower2 Location(option) |  |  | Photo-Ceiling to show construction status
Notes: |  |  | Notes: |  |  | Notes:

## IP
IP Part Survey Report
Aljeel Existing Equipment Information
item # | Interface Type | Interface Speed | Interface QTY | Size (Unite) | Outdoor / Indoor | Remarks
1 | SR | 10 Gbps | 1 | 5 | Indoor | 10 Gbps For starters, upgrades are made on demand
New Equipment Information
item # | Interface Type | Interface Speed | Interface QTY | Size (Unite) | Outdoor / Indoor | Remarks
1 | SR | 10 Gbps | 1 | 1 | Outdoor | 10 Gbps For starters, upgrades are made on demand
Photo-Existing IP Equipment

## WL
Wireless Part Survey Report
Propose Information (New build)
WL Equipment Type |  |  | WiBAS G5 dual-BS
Frequency |  |  | 28 GHz
Cabinet Type |  |  | MTS9514A
Sectors |  |  | Sector 1 | Sector 2 | Sector 3 | Sector 4 | Sector 1 | Sector 2 | Sector 3 | Sector 4
Feeder Cable Type |  |  | MTS9514A Sector 1: fiber optic cable+ ETH Cable; MTS9514A Sector 2: fiber optic cable+ ETH Cable; MTS9514A Sector 3: fiber optic cable+ ETH Cable; MTS9514A Sector 4: fiber optic cable+ ETH Cable
Feeder Cable Length (m) |  | optic cable | MTS9514A Sector 1: 80; MTS9514A Sector 2: 80; MTS9514A Sector 3: 80; MTS9514A Sector 4: 80
|  | ETH Cable | MTS9514A Sector 1: 80; MTS9514A Sector 2: 80; MTS9514A Sector 3: 80; MTS9514A Sector 4: 80
DC Power cable Length (m) |  |  | MTS9514A Sector 1: 80; MTS9514A Sector 2: 80; MTS9514A Sector 3: 80; MTS9514A Sector 4: 80
Auxiliary Materials Information
|  |  | Exisitng or Not |  | QTY |  | Notes
Main Grounding bar (Pcs) |  |  | MTS9514A Sector 1: Not; MTS9514A Sector 3: -; MTS9514A Sector 1: If not Existing, Earthing is in the tower
Busbar Height (M) | bar: MTS9514A Sector 1; MTS9514A Sector 3; MTS9514A Sector 1
Existing Pole (Pcs) |  |  | MTS9514A Sector 1: Not; MTS9514A Sector 3: Expected 8 Pole; MTS9514A Sector 1: Expected 8 Pole
Outdoor Cable Tray (M) |  |  | MTS9514A Sector 1: Not; MTS9514A Sector 3: -; MTS9514A Sector 1: -
Indoor Cable Tray (M) |  |  | MTS9514A Sector 1: Not; MTS9514A Sector 3: -; MTS9514A Sector 1: -
Proposed NEW Equipment
Photo-Cabinet Position Top View |  |  | MTS9514A Sector 2: Photo-New Cabinet Foundation; MTS9514A Sector 2: Photo-Grounding Bar on Tower
Note: |  |  | MTS9514A Sector 2: Note:; MTS9514A Sector 2: Note:
Photo-Grounding Bar for Cabinet |  |  | MTS9514A Sector 2: Photo-Grounding Bar for antenna; MTS9514A Sector 2: Photo-Cable Tray from tower to equipment
N/A | N/A | N/A | MTS9514A Sector 1: N/A
Note: |  |  | MTS9514A Sector 2: Note:; MTS9514A Sector 2: Note:
Photo-Cable Tray from tower to equipment |  |  | MTS9514A Sector 2: Photo-Cable Tray from tower to equipment; MTS9514A Sector 2: Photo-Cable Tray from tower to equipment
Note: |  |  | MTS9514A Sector 2: Note:; MTS9514A Sector 2: Note:
Photo-Grounding cable to Antenna |  |  | MTS9514A Sector 2: Photo-Grounding cable to feeder cable; MTS9514A Sector 2: Photo-Grounding cable to cabinet
Note: |  |  | MTS9514A Sector 2: Note:; MTS9514A Sector 2: Note:

## Power
Power system Part Survey Report
Site Configuration Type |  | New
PS0： New Power System
Grid Power Available |  |  | AC 2- AC power System |  | Measurement of Ac Supply (V)
[5 empty] | VL1_N | VL2-N | VL3-N | V N-G;
NO |  |  | N/A |  | N/A | N/A | N/A | N/A
Diesel Generator Available |  |  | Grounding system measurement (Ohm)
NO |  |  | N/A
Power Design Type |  |  |  | Power Configuration
Model: MTS9514A |  |  |  | (2 x 300Ah lithium battery) (backup time: 12H)
Photo-Existing AC box location(closed) |  |  | Photo-Existing AC box location(Open) |  |  | Photo- Measurement of V N-G
Photo- Measurement of VL1_N |  |  | Photo- Measurement of VL2_N |  |  | Photo- Measurement of VL3_N
Photo-new AC box location |  |  | Photo-Overview from AC box to Power system |  |  | Photo-New Power/Battery Location
Grounding system Manhole |  |  | Grounding system measurement |  |  | measurement process
New Power Site Cable length
Type | Description |  | Note |  |  | Length (m)
Ground Cable | From New Rack to Grounding Bar
AC Power Cable | From New Rack to AC box |  | 55m
DC Cable | From Router to DC Distributer
From DC Distributer to Tower
Existing AC CB capacity | From Existing AC Panel |  | N/A
Existing AC BOX CB
Type |  |  | Remark |  |  | Value
Used CB in AC BOX |  |  | N/A
Free CB in AC BOX |  |  | N/A
Need CB with particular capacity ( Yes or No ) |  |  | N/A
PS1：Existing Power System
Photo-Existing Rectifier location( closed) |  |  | Photo-Existing Rectifier location( Open) |  |  | Photo-existing battery location
Photo-Grounding Bar on Building |  |  | Photo-DC Breaker |  |  | Free circuit breaker in DC distributor
PS2：Diesel Generator System
Photo-existing D.G1 System |  |  | Photo-existing D.G2 System |  |  | Phote of Specification
D.G System Capacity |  |  | Working Status |  |  | Diesel Generator Owner
Note

## RF
RF Part Survey Report
Antenna Information
# | Sector | Antenna Type | Antenna Height (m) | Azimuth | Mechanical Tilt | Electronical Tilt | Serial Number | Operating Frequency | Output Power EIRP
1 | 1 | WiBAS G5 dual-BS | 37m | determined at design | determined at design | N/A | Determined at installation | determined at design | determined at design
2 | 2 | WiBAS G5 dual-BS | 37m | determined at design | determined at design | N/A | Determined at installation | determined at design | determined at design
3 | 3 | WiBAS G5 dual-BS | 34m | determined at design | determined at design | N/A | Determined at installation | determined at design | determined at design
4 | 4 | WiBAS G5 dual-BS | 38m | determined at design | determined at design | N/A | Determined at installation | determined at design | determined at design
Site Antanna Proposed Location (Only for Existing Tower)
Photo-Sector 1 Location |  |  | Photo-Sector 2 Location |  |  | Photo-Sector 3 Location
Photo-Sector 4 Location |  |  | Photo-Sector 1 point of view |  |  | Photo-Sector 2 point of view
|  |  | N/A |  |  | N/A
Photo-Sector 3 point of view |  |  | Photo-Sector 4 point of view |  |  | Photo-Sector 1 point view of Tower
N/A |  |  | N/A |  |  | N/A
Photo-Sector 2 point view of Tower |  |  | Photo-Sector 3 point view of Tower |  |  | Photo-Sector 4 point view of Tower
N/A |  |  | N/A |  |  | N/A
Surrounding Environment 360 Degree Picture (for New Build)
Panorama photos heigth on top of wireless antenna
Photo-View 0° |  |  | Photo-View 30° |  |  | Photo-View 60°
Photo-Photo-View 90° |  |  | Photo-Photo-View 120° |  |  | Photo-Photo-View 150°
Photo-View 180° |  |  | Photo-View 210° |  |  | Photo-View 240°
Photo-View 270° |  |  | Photo-View 300° |  |  | Photo-View 330°

## MW
Microwave Part Survey Report
1.1 Information from Existing MW link Summary
Lacal Site Name | Far End Site Name | Height of Antenna | Azimuth of Antenna | Frequency spots (MHz) | Diameter of Antenna | Serial Number
N/A | N/A | N/A | N/A | N/A | N/A | N/A
| N/A | N/A | N/A | N/A | N/A | N/A
1.2 For Fiber Node
ODF Port Type[APC/UPC] | ODF Port Type[SC/LC,/FC/...] | ODF Fiber Type [ SM/MM ] | Qty of Free Ports on ODF |  | Distance Between Router and ODF (m)
Photos:
ODF close |  |  | ODF open
Cable tray rout to switch room |  |  | Exist feeder window to switch room
Path for fiber root from Cabinet to ODF (m) |  |  | Path for fiber root from Cabinet to ODF (m)
1.3 Position for New MW Antenna (Space for New Antenna on Existing Tower)
Far End Site Name | Height of Antenna | Azimuth of Antenna | Diameter of Antenna | New Antenna Space Availability | LOS for New Link | New MW Pole Required
1.4 Photos
1.4.1 Photo for Proposed Antennas Location on Tower
1.4.2 Line of Sight for New Link
1.Far End Site Name | Heigth | Obastacle Latitude | Obastacle Longitude | Height | Clutter height | Remark
Photo- Facing to Far End Site |  | Photo of Obastacle |  | Path profile facing to far end site
2.Far End Site Name | Heigth | Obastacle Latitude | Obastacle Longitude | Height | Clutter height | Remark
Photo- Facing to Far End Site |  | Photo of Obastacle |  | Path profile facing to far end site
3.Far End Site Name | Heigth | Obastacle Latitude | Obastacle Longitude | Height | Clutter height | Remark
Photo- Facing to Far End Site |  | Photo of Obastacle |  | Path profile facing to far end site
4.Far End Site Name | Heigth | Obastacle Latitude | Obastacle Longitude | Height | Clutter height | Remark
Photo- Facing to Far End Site |  | Photo of Obastacle |  | Path profile facing to far end site

## CW
Civil Work Part Survey Report
1.1. Tower Information (Existing)
Tower Type: | Greenfield
Tower Antenna Pole Availability: | No
1.2 Photos
1.2.1 Photos of Site Basic Information (New build or Existing)
Photo-Site Panorama |  | Photo-Tower Overview (from top to bottom) | The tensile wire levels on the tower
Note: |  | Note: | Note:
1.2.2 Site Equipment Information-Outdoor (Only for Existing)
Photo-New BTS Cabinat Location Overview |  | Photo-navigational light of the tower | Photo-Lightning rod on the tower
Note: |  | Note: | Note:
1.2.3 Tower & CW Adaption information (Only for Existing)
Photo-Tower |  | Photo-Tower Foundation | Photo-Grounding Bar on Tower
Note: |  | Note: | Note:
Photo- Damaged parts |  | Photo-Visual inspection of building to know if NDT needs | Photo-Roof Isolated or Not
Note: |  | Note: | Note:
Photo- Base of Concrete underneath Tower |  | Photo- Base of Concrete for New Cabinet | Photo- Installation Solution of tension wire 1
Note: |  | Note: | Note:
Photo- Installation Solution of tension wire 2 |  | Photo- Installation Solution of tension wire 3 | Photo- Installation Solution of tension wire 4
Note: |  | Note: | Note:

## Cable Requirment
Site Cable & Accessories Requirment Part Survey Report
1.1 Indoor Cabinet Scenario
Item | Description | Cable Length (m) | CableTray Length (m) (Indoor) | CableTray Length (m) (Outdoor) | Note
AC Power Cable | From New Rack to AC Box
DC Power Cable | From DC-Distributer to Sector 1 | 80
| From DC-Distributer to Sector 2 | 80
| From DC-Distributer to Sector 3 | 80
| From DC-Distributer to Sector 4 | 80
From DC-Distributer to MW 1
From DC-Distributer to MW 2
From DC-Distributer to MW 3
From DC-Distributer to MW 4
From DC-Distributer to New Router
OF cable | From New Router to Sector 1 | 80
| From New Router to Sector 2 | 80
| From New Router to Sector 3 | 80
| From New Router to Sector 4 | 80
From New Router to MW 1
From New Router to MW 2
From New Router to MW 3
From New Router to MW 4
From IP Equipment to New Router
ETH Cable | From New Router to Sector 1 | 80
| From New Router to Sector 2 | 80
| From New Router to Sector 3 | 80
| From New Router to Sector 4 | 80
Grounding Cables | From Sector 1 to Busbar |  |  |  | If Grounding Bar not Existing Earthing is in the tower
| From Sector 2 to Busbar |  |  |  | If Grounding Bar not Existing Earthing is in the tower
| From Sector 3 to Busbar |  |  |  | If Grounding Bar not Existing Earthing is in the tower
| From Sector 4 to Busbar |  |  |  | If Grounding Bar not Existing Earthing is in the tower
| From MW 1 to Busbar |  |  |  | If Grounding Bar not Existing Earthing is in the tower
| From MW 2 to Busbar |  |  |  | If Grounding Bar not Existing Earthing is in the tower
| From MW 3 to Busbar |  |  |  | If Grounding Bar not Existing Earthing is in the tower
| From MW 4 to Busbar |  |  |  | If Grounding Bar not Existing Earthing is in the tower
| From New Router to Busbar |  |  |  | If the installation is in the ALjeel rack, the grounding be in the rack.
Fiber Connector
Connector Type [APC/UPC] | Connector Type [SC/LC,/FC/...] | Connector QTY | Fiber Type [ SM/MM ] | Fiber Length (m) | Note
1.2 Outdoor Cabinet Scenario
Item | Description | Cable Length (m) | CableTray Length (m) |  | Note
GND Cable | From NewCcabinet to Grounding Bar | 15m
AC Power Cable | From New Cabinet to AC Box
DC Power Cable | From DC-Distribution to Sector 1 | 50m | 15m
| From DC-Distribution to Sector 2 | 50m
| From DC-Distribution to Sector 3 | 55m
| From DC-Distribution to Sector 4 | 55m
From DC-Distribution to MW 1
From DC-Distribution to MW 2
From DC-Distribution to MW 3
From DC-Distribution to MW 4
| From DC-Distribution to New Router | 5m |  |  | الطول يمثل المسافه بين مصدر DC وراوتر ولا يمثل الكميه الكميه تحدد في BoQ بناء على استعمال كابل رئيسي واحتياطي سلك أو كابل
| From BATT to C.B | 4m
OF cable | From New Router to Sector 1 | 50m
| From New Router to Sector 2 | 50m
| From New Router to Sector 3 | 55m
| From New Router to Sector 4 | 55m
From New Router to MW 1
From New Router to MW 2
From New Router to MW 3
From New Router to MW 4
| From IP Equipment to New Router | 1.2km |  |  | يوجد كابل فايبر بجانب البرج
ETH Cable | From New Router to Sector 1 | 50m
| From New Router to Sector 2 | 50m
| From New Router to Sector 3 | 55m
| From New Router to Sector 4 | 55m
Grounding Cables | From Sector 1 to Tower | 3m
| From Sector 2 to Tower | 3m
| From Sector 3 to Tower | 5m
| From Sector 4 to Tower | 5m
From MW 1 to Tower
From MW 2 to Tower
From MW 3 to Tower
From MW 4 to Tower
| From New Router to Busbar | n/a
Fiber Connector
Connector Type [APC/UPC] | Connector Type [SC/LC,/FC/...] | Connector QTY | Fiber Type [ SM/MM ] | Fiber Length (m) | Note
UPC | LC-LC | 2 | MM | 1.2km | كابينة خارجية

## Layout Drawing
Layout Drawings (Plan & Side View)
POP Site Layout
HUB & Terminal Sites